[image: image1.png]Miramar



           PLC System Integration, Process Control, Telemetry & Industrial IT           
[image: image1.png]
4339 Stacy Ln  SEABROOK, TX 77586              www.miramarautomation.com                                  (832) 615-3588              

0
Client:


System #


System Title


P&ID


Info

1
Controller Requirements: (Processor)


Mfg./Model


Memory Size


Communications Ports


I/O Number


(  ) 
Digital inputs and type


(  )
Digital outputs and type


(  )
Analog inputs


(  )
Analog outputs


(  )
Specialty modules



(  ) Flow computers



(  ) Motion control



(  ) Weigh Scales



(  ) 


(  )
Remote I/O


(  )
Field device communication adaptors and interfaces.



(  ) Modbus



(  ) Ethernet



(  ) DeviceNet



(  ) AS-I Bus



(  ) Profibus



(  )


(  )
Local control network type


(  )
Control blocks (PID, cascaded PID, etc.)


(  )
Special blocks and algorithms.


(  )
Radio Modem/Wireless _____________________________________


(  )
Intranet/Internet Access/Remote Support________________________

2
Redundancy Requirements:


(  )
None


(  )
Processor


(  )
I/O


(  )
Field Devices


(  )
Control network and cable


(  )
Device network and cable.


(  )
Power supplies.


(  )
System server


(  )



(  )


3
Human-Machine Interface / Operator workstation:


(  )
Switches & Lights


(  )
Graphic Panel


(  )
Operator Terminal


(  )
CRT/Workstation/PC



Features:



(  )
Alarming



(  )
Alarm messaging (text-to-speech, phone, fax, email)



(  )
Trending



(  )
Historization



(  )
Statistics (SPC).



(  )
Buttons, especify:



(  )
Logging method.



(  )
Configuration



(  )
Accessibility (LAN, WAN, Internet, web)

Platform:




(  )
Visual Basic





(  )
API





(  )
ActiveX





(  )
OPC Server.




(  )
HMI Software (WinCC, RSView32, 
Wonderware, Cimplicity, etc.)




(  )
DCS

4
Peripherals


(  )
Printer


(  )
Others

5
I/O System Design


Action on Power Failure:


(  )
Outputs fail safe


(  )
Outputs hold last position


(  )
Sequence return to start


Energy Suppression Devices Required:


(  )
Inductive DC Outputs


(  )
Inductive AC Outputs


Percent Spare Capacity:


(  )
I/O Modules:
___________________________________________


(  )
Module expansion space:
________________________________


(  )
Memory size:
___________________________________________


Simulation


(  ) 
None


(  ) 
PC driven simulation


(  )
PLC Emulator


(  )
Switches and Lights


(  )
Software


(  )
Custom Software


Installation


(  )
Prefabricated enclosure


(  )
Field contractor to install


(  )
Integral environment control

6 Software, configuration and development.

(  )
Operating system (Unix, Windows 95/98/NT/2000/XP)


(  )
Communications software 



(  )
Proprietary drivers



(  )
Data server/Kepware



(  )
Cross platform requirements (DDE, OPC, Gateways)


(  )
Programming software


(  )
Specialty


(  )
Loop tuning


(  )
Batch.


(  )
Accessibility (LAN, WAN, Internet, web).


(  )
Custom software development  (Visual Basic, C++, SQL, web/ASP).


(  ) 
Databases, Datalog, History, Alarms (MSAccess, SQL Server, Oracle)


(   )
Web Server/Services.  Web access


Date:_______________________
By:____________________________________

1
1

_1209285715.bin

